## Sheet1
|  |  | H2O-0001 |  | Milk
|  |  |  | Ca | Mg | Lactose | Solids | SNF | Conductivity | FPD | pH | Casein (02 07) | Citric Acid (11 01) | Density (10 01) | NPN/CU (05 01) | NPN/CU (05 02) | Total Protein (02 03) | True Protein (02 02) | True Protein (02 05) | FFA in milk (12 02) | NPN*6.38 milk (13 01)
|  |  | Replicate | %m/m | %m/m | %m/m | %m/m | %m/m | mS | m°C | - | %m/m | mg/kg | g/ml | mg/100g | mg/100g | %m/m | %m/m | g/l | mg/100g | %m/m
11/15/2019 | 1:27:30 PM |  | #01 | 3.91 | 3 | 4.54 | 12.12 | 7.48 | 6.37 | 477.5 | 6.67 | 2.37 | 1971 | 1.029 | 20.453 | 123.897 | 2.81 | 2.95 | 29.53 | 0.2 | 0.03
11/15/2019 | 1:27:52 PM |  | #02 | 3.91 | 3.01 | 4.55 | 12.13 | 7.49 | 6.38 | 478 | 6.67 | 2.37 | 1975 | 1.029 | 21.405 | 127.773 | 2.81 | 2.95 | 29.54 | 0.4 | 0.03
11/15/2019 | 1:28:13 PM |  | #03 | 3.91 | 3.01 | 4.55 | 12.14 | 7.49 | 6.38 | 478 | 6.66 | 2.37 | 1969 | 1.029 | 21.557 | 128.39 | 2.81 | 2.95 | 29.54 | 0.3 | 0.03
|  |  | Mean | 3 | 2 | 4.54 | 12.13 | 7.49 | 6.37 | 477.8 | 6.67 | 2.37 | 1972 | 1.029 | 21.138 | 126.687 | 2.81 | 2.95 | 29.54 | 0.3 | 0.03 | RIN 55 bulk tank | Milk | 11/15/2019 1:26:59 PM
|  |  | StdDev | 0.002 | 0.003 | 0.001 | 0.006 | 0.004 | 0.006 | 0.31 | 0.006 | 0 | 2.9 | 0 | 0.5986 | 2.4358 | 0.003 | 0 | 0.003 | 0.06 | 0
|  |  |  | Fat PLS | Protein | Lactose | Solids | SNF | Conductivity | FPD | pH | Casein (02 07) | Citric Acid (11 01) | Density (10 01) | NPN/CU (05 01) | NPN/CU (05 02) | Total Protein (02 03) | True Protein (02 02) | True Protein (02 05) | FFA in milk (12 02) | NPN*6.38 milk (13 01)
Version
|  |  | Slope | 1.0035 | 0.9757 | 0.9139 | 1.0102 | 1 | 1 | 1.0309 | 1 | 0.9233 | 1 | 1 | 0.0115 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Intercept | 0.062 | -0.0018 | 0.5172 | 0.46 | 0 | 0 | -24.6861 | 0.1043 | 0.1065 | 0 | 0 | -9.9931 | 0 | 0 | 0 | 0 | 0 | 0.03
|  |  | Calibrated | 10/25/2019 3:27:59 PM | 10/25/2019 3:33:38 PM | 10/25/2019 3:37:38 PM | 10/25/2019 3:39:31 PM |  |  | 10/25/2019 3:44:43 PM | 10/25/2019 3:52:27 PM | 10/25/2019 3:49:25 PM |  |  | 11/15/2019 1:08:44 PM | [5 empty] | 10/25/2019 3:55:18 PM
11/15/2019 | 1:28:14 PM | Lab Manager | Analysis accepted
11/15/2019 | 1:28:14 PM | Lab Manager | Measurement finished.
11/15/2019 | 1:28:36 PM | Lab Manager | Rinse started (Milk, Milk Products).
11/15/2019 | 1:29:27 PM | Lab Manager | Rinse finished.
11/15/2019 | 1:30:08 PM | Lab Manager | Measurement started.
|  |  | HLOG 39 bulk tank |  | Milk
|  |  |  | Fat PLS | Protein | Lactose | Solids | SNF | Conductivity | FPD | pH | Casein (02 07) | Citric Acid (11 01) | Density (10 01) | NPN/CU (05 01) | NPN/CU (05 02) | Total Protein (02 03) | True Protein (02 02) | True Protein (02 05) | FFA in milk (12 02) | NPN*6.38 milk (13 01)
|  |  | Replicate | %m/m | %m/m | %m/m | %m/m | %m/m | mS | m°C | - | %m/m | mg/kg | g/ml | mg/100g | mg/100g | %m/m | %m/m | g/l | mg/100g | %m/m
11/15/2019 | 1:30:38 PM |  | #01 | 4.37 | 3.25 | 4.83 | 13.17 | 8.05 | 6.19 | 503 | 6.63 | 2.57 | 2094 | 1.03 | 39.51 | 201.45 | 3.07 | 3.21 | 32.12 | 0.1 | 0.03
11/15/2019 | 1:31:00 PM |  | #02 | 4.47 | 3.24 | 4.82 | 13.26 | 8.03 | 6.19 | 503.5 | 6.63 | 2.57 | 2090 | 1.03 | 40.378 | 204.981 | 3.07 | 3.21 | 32.1 | 0.1 | 0.03
11/15/2019 | 1:31:26 PM |  | #03 | 4.41 | 3.24 | 4.83 | 13.21 | 8.05 | 6.21 | 504.2 | 6.64 | 2.57 | 2096 | 1.03 | 39.999 | 203.438 | 3.08 | 3.21 | 32.1 | 0.2 | 0.03
|  |  | Mean | 4.42 | 3.24 | 4.83 | 13.21 | 8.04 | 6.2 | 503.5 | 6.63 | 2.57 | 2093 | 1.03 | 39.962 | 203.289 | 3.07 | 3.21 | 32.11 | 0.1 | 0.03 | HLOG 39 bulk tank | Milk | 11/15/2019 1:30:07 PM
|  |  | StdDev | 0.05 | 0.003 | 0.005 | 0.043 | 0.008 | 0.011 | 0.63 | 0.003 | 0.001 | 2.8 | 0.0001 | 0.435 | 1.77 | 0.002 | 0.001 | 0.011 | 0.03 | 0
|  |  |  | Fat PLS | Protein | Lactose | Solids | SNF | Conductivity | FPD | pH | Casein (02 07) | Citric Acid (11 01) | Density (10 01) | NPN/CU (05 01) | NPN/CU (05 02) | Total Protein (02 03) | True Protein (02 02) | True Protein (02 05) | FFA in milk (12 02) | NPN*6.38 milk (13 01)
Version
|  |  | Slope | 1.0035 | 0.9757 | 0.9139 | 1.0102 | 1 | 1 | 1.0309 | 1 | 0.9233 | 1 | 1 | 0.0115 | 1 | 1 | 1 | 1 | 1 | 1
|  |  | Intercept | 0.062 | -0.0018 | 0.5172 | 0.46 | 0 | 0 | -24.6861 | 0.1043 | 0.1065 | 0 | 0 | -9.9931 | 0 | 0 | 0 | 0 | 0 | 0.03
|  |  | Calibrated | 10/25/2019 3:27:59 PM | 10/25/2019 3:33:38 PM | 10/25/2019 3:37:38 PM | 10/25/2019 3:39:31 PM |  |  | 10/25/2019 3:44:43 PM | 10/25/2019 3:52:27 PM | 10/25/2019 3:49:25 PM |  |  | 11/15/2019 1:08:44 PM | [5 empty] | 10/25/2019 3:55:18 PM
11/15/2019 | 1:31:02 PM | Lab Manager | The Instrument has not detected any Fluid at the Inlet.
11/15/2019 | 1:31:27 PM | Lab Manager | Analysis accepted
11/15/2019 | 1:31:27 PM | Lab Manager | Measurement finished.